## Slide 1
Homeland Security and Preventing Threats
Prof. Dr. Kenan Ünlü
Director of Radiation Science and Engineering Center,
Professor of Nuclear Engineering
Affiliate Professor of School of International Affairs
Penn State University, University Park, PA 16802 USA
The International CBRN Congress
RADIOLOGICAL THREATS AND HAZARDS
AFAD
December 5-7, 2017
Ankara, TURKEY

## Slide 2: Nuclear Smuggling
Nuclear smuggling involves the illicit trafficking of any nuclear or radiological materials
  illicit nuclear trafficking: comprises the unauthorized acquisition, provision, possession, use, transfer, or disposal of nuclear and other radioactive materials whether intentional or unintentional and with or without crossing international borders
  these material could be used by terrorists (or a rogue state) in the fabrication of a radiological dispersal devices (RDD) or an improvised nuclear device (IND)
In recent years there has been a growing awareness of illicit trafficking in nuclear materials
  during the early 1990’s, several cases of trafficking in nuclear material, that could be directly used in nuclear weapons, raised concerns that such materials could be obtained by terrorists
    -concerns were greatly increased by the events of 9/11

## Slide 3: Combating Nuclear Smuggling
Deterring access to and availability of nuclear and other radioactive materials is critical to combating nuclear terrorist capabilities
Generally two types of programs:
  secure nuclear weapons, nuclear materials, and other radioactive materials worldwide
  detect and prevent illicit trafficking of these materials
Combating nuclear smuggling requires active and continual monitoring of
  nuclear material facilities
  border locations
  smuggling organizations (organized crime)
  countries of interest

## Slide 4: Type of Materials Smuggled
Nuclear Materials:
  material that can be used for nuclear fuel or in the construction of nuclear weapons
  uranium, plutonium, americium, neptunium, thorium
Radioisotopes:
  radioactive isotopes used in industrial and medical applications
  Cesium-137, Cobalt-60, Strontium-90, etc.
Dual-Use Materials:
  materials that has both commercial and military or other strategic applications
  tritium, lithium, beryllium, zirconium, etc.
Other Materials:
  materials related to fraud (scam), containers, lead, etc.

## Slide 5: USA Border Crossing
At San Ysidro (CA) border crossing alone, per day
  50,000 vehicles
  25,000 pedestrians
307 ports of entry in USA
621 border crossing (2002 data)
Over 300,000 vehicles, 2,500 aircraft,
and 600 ship pass through these ports every day
Main mission: intercept material
prior to crossing a border

## Slide 6: USA Border Crossing

## Slide 7: Mission of the Radiation Portal Monitors (RPMs)
Radiation Portal Monitors (RPMs) play a vital role in combating the illicit trafficking of radioactive material.
Borders
Ports
Facilities

## Slide 8: What are We Looking For?
Materials of interest that can be used in the production of a RDD or an IND
Characteristics:
  Gamma
    Some sources are relatively high energy emitters used in industrial operations: Cs-137, Co-60, Ir-192
    Special Nuclear Material (SNM) typically have low energy gamma emissions
  Neutrons
    Some industrial sources use Cf-252 , Am-Be, Pu-Be
    SNM, especially Pu, emit neutrons
  Beta
    Sr-90. Used extensively in the Former Soviet Union as Radioisotope Thermoelectric Generators. Pure beta emitter, can not be detected with a portal monitor

## Slide 9: Background makes the detection of radiation signatures very challenging
Consider 10 kg of weapons grade Pu, in the center of a 2-m3 tank of water
Spontaneous neutron emission rate is 520,000 n/s
99.98% from 238,240,242Pu impurities
but self-shielding (@1 MeV) is 1/1.3
and thermalization × absorption × Ω is 1/1x108
so signal is 0.004 thermal n/cm2s
About 1/5 of cosmic-ray neutron rate
235U is 106 times more difficult to detect!

## Slide 10: Radiation Portal Monitors on the Border
Typically fixed locations
Located at traffic choke points
Speeds should be reduced while passing through portals
Traffic controls
Detection Capabilities:
Neutron
Gamma

## Slide 11: Typical Radiation Portal Monitors
Most portals will have at least gamma detection capability
NaI
PVT
Some will have neutron detectors (He-3)
Typically associated with vehicle type portals

## Slide 12: Specialized RPMs
Mobile RPMs
Advantages:
Can set-up portal anywhere
Can be used in stationary mode or “mobile mode”
Typically used at seaports by Customs and Border Patrol (CBP)
Also appropriate for use at airports, rail yards, and vehicle cargo operations

## Slide 13: Specialized RPMs
Spreader-Bar crane mounted detection system
Advantage:
If all cranes had this system, it would guarantee 100% cargo screened.
Better minimum detectable activities may be improved over land based RPMs
Pictured system has 32 NaI detectors and an array of He-3 tubes
Disadvantages:
Only scans the top of the cargo container
Under great physical stress due to operation

## Slide 14: Passive Detection of SNM

## Slide 15: Coded Aperture for Remote Detection of Fissile Materials
Coded aperture array able to image small sources at distances of up to 100 m while driving by at 25 mph

## Slide 16: Stand Off Radiation Detection System (SORDS) Imaging System

## Slide 17: Muon Tomography Inspection Station
Schematic Drawing of Muon Tomography Inspection Station Configurations: Tunnel and Top/Bottom (Source: Decision Sciences International Corporation).

## Slide 18: Three-Dimensional Muon Tomography Images

## Slide 19: Active Detection of SNM

## Slide 20: SAIC CAARS Prototypes

## Slide 21: Dual-Energy Radiography with False Colors Assigned

## Slide 22: Dual-Energy Transmission Radiography
use dual-energy LINAC to produce two X-ray beams with different energy distributions
use differential attenuation to identify materials
Nuctech Company Ltd

## Slide 23: The Nuclear Carwash: Interrogation with Neutrons

## Slide 24: Field Deployable Radiation Detection Systems
Field deployable systems are those detection systems that can be carried into the field by law enforcement or response teams
They can be carried by:
  Individuals
  Ground vehicles
  Aircrafts
  Boats

## Slide 25: Mobile Systems
Mobile radiation detection systems are mounted to, and operate within a moving or stationary vehicle for the detection, identification, and quantification of radioactive material
These systems can be used in multiple platforms
  Land Vehicles (car, van)
  Aircrafts
  Boats

## Slide 26: Radiation Pagers
Radiation pagers are extremely small detection devices that can be worn on a belt
Worn extensively by law enforcement
  Police, FBI, Customs
  Fire, First Responders
Audible and/or vibration alarms alert wearer of radiation near by

## Slide 27: Radioisotope Identification Detectors (RIIDs)
Small, portable, (handheld) radiation detectors
  Has visual and audible indicators to alert a user
All have the ability to identify gamma emitting radionuclides and report that identity to the user
Spectra can be recorded and downloaded to a computer for further analysis

## Slide 28: LaBr3(Ce) Based RIID Systems

## Slide 29: Semiconductor RIID Detectors
HPGe
  Most common semiconductor
  ~10 -40% efficient
  Mechanically cooled to -221 °C
  Much better resolution (a few %) than NaI
  Can cost up to ~$100,000
CdZnTe (CZT)
  Does not require cooling
  Can only grow crystals that are a few cm3.
  Resolution is about twice as good as NaI

## Slide 30: Radiation Backpack
The briefcase was the precursor for the backpack
Backpack Systems:
  Gamma (NaI or PVT)
  Neutron detection (He-3, Li-glass)
  Wired and wireless communication through a PDA/ smart phone
  GPS location
  Data is recorded
  Spectrum ID (with NaI)
  Can weigh as much as 30 lbs.

## Slide 31: PSU Nuclear Security Education Lab.

## Slide 32: PSU Nuclear Security Education Lab.

## Slide 33: PSU Nuclear Security Education Lab.

## Slide 34: Search System and PackEye at PSU Nuc E 543 Exercise

## Slide 35: PSU Nuc E 543 Exercise

## Slide 36: PSU Nuc E 543 Exercise

## Slide 37: Radiation Science & Engineering Center

## Slide 38: Authors